## Slide 1
DISCOVER . LEARN . EMPOWER
UNIVERSITY INSTITUTE OF SCIENCES
Academic Unit V
Bachelor of Engineering
(Computer Science & Engineering)
Biology For Engineers
23SZT148
Patient isolation, and accident prevention

## Slide 2: Course Outcome
CO Number | Title | Level
CO1 | Identify the biological concepts from an engineering perspective. | Remember
CO2 | Development of artificial systems mimicking human action. | Understand
CO3 | Explain the basic of genetics that helps to identify and formulate problems | Understand
CO4 | Apply knowledge of measurement system, biomedical recording system and biosensors to excel in areas such as entrepreneurship, medicine, government, and education. | Understand
CO5 | Integrate biological principles for developing next generation technologies | 
Will be covered in this lecture
https://images.app.goo.gl/5obqqxo93P2UBmdU6

## Slide 3: SYLLABUS
Unit-3 | Bio Medical Instrumentation | Contact Hours: 15
Chapter 1 Electrical stimulus and biophysical activity Chapter 2 Biomedical recording system Chapter 3 Tissue Engineering | Electrical stimulus and biophysical activity: Patient, electrical shock and hazards, leakage current, Electrical activity of heart (ECG), Electrical activity of brain (EEG), Electrorentinogram (ERG), Electro-occologram (EOG), Electromyogram (EMG). Biomedical recording systems: Basic Recording system, General consideration for signal conditioners Preamplifiers, Differential Amplifier, Isolation Amplifier, Vectorcardiograph, Phonocardiograph, Other biomedical records, Patient isolation, and accident prevention. Tissue Engineering: Recombinant DNA technology, Stem cell biology & Tissue Engineering. | 

## Slide 4: Patient Safety

## Slide 5
Danger to Patients
In a clinical environment patient is exposed to various risks, more than a typical workplace or at home
Frequent invasive (blood) operations
Penetration through skin or mucous membranes
Presence of potentially hazardous chemicals and substances - anesthetics, medicines, medical gases
Sources of infection - particularly "hospital infection"
Various sources of energy that penetrate into or through the patient: current, voltage, ionizing and non-ionizing radiation, sound and ultrasound, electric and magnetic field, UV radiation, lasers, microwave radiation, mechanical stress, etc.

## Slide 6
WHAT IS SAFETY
S – Sense the error
A – Act to prevent it
F – Follow Safety Guidelines
E – Enquire into accidents/Deaths
T – Take appropriate remedial measure
Y – Your responsibility

## Slide 8
PATIENT SAFETY
Patient safety “the prevention of harm to patients’’.
Improving Patient Safety means reducing patient harm.
Hospitals were founded to give care to those who need it and to keep patients safe is their moral duty

## Slide 9
Principle of Patient Safety
Proper identification of patient and matching to their care elements
Prevention of patient hand over error and safety during transition
Assessing medical accuracy while giving care to a patient
Performance of correct procedure at correct body site
Take appropriate precautionary measures to avoid infection

## Slide 10
Patient Safety
Medical Safety
Surgical Safety
Electrical Safety
Laboratory Safety
Sanitation Infection Control
Blood Safety
Equipment Installation Safety
Environmental Safety

## Slide 11
Electrical Current:
Electrical Current
Requires a closed circuit
Follows the path of least resistance (much like water)
Electrical (functional) currents form an integral part during monitoring, treatment and diagnosis of patients
But can cause injury or even result in death as a result of muscle stimulation, tissue burns or trigger other events (e.g., ignition of pure oxygen)
Risk of (non-functional) electrical leakage is relatively small but always present.
Life saver in defibrillators (functional current)
Preventative Maintenance
Objective is to prevent or find potential faults
Visual Inspection
Testing means of protection
Line cord
Ground continuity
Insulation
Leakage currents
Performance testing
Data capture and management

## Slide 12
Safety measures for- Electrical Shock Hazards
The severity and effects of an electrical shock depend on a number of factors, such as the pathway through the body, the amount of current, the length of time of the exposure, and whether the skin is wet or dry. Water is a great conductor of electricity, allowing current to flow more easily in wet conditions and through wet skin.
The effect of the shock may range from a slight tingle to severe burns to cardiac arrest.
Electrical shock occurs when the body becomes part of the electric circuit, either when an individual comes in contact with both wires of an electrical circuit, one wire of an energized circuit and the ground, or a metallic part that has become energized by contact with an electrical conductor.
Potential places where this can happen include:
Panel boards and switchboards
Motor control centers
Metal-clad switchgear
Transformers
Motor starters and drive cabinets
Fused disconnects
Any place that can have equipment failure

## Slide 13
Electrical Shock Hazards
Body (tissue) becoming a part of an electrical circuit
The amount of electricity often depends on the ratio of voltage present
The consequence of current flow:
Electric stimulation of excitable tissue (nerve and muscle)
Heating of tissues (a result of tissue resistance)
Electrochemical burns and tissue damage for DC current and very high voltage
Before placing the electrodes the skin should be dry.

## Slide 14
Patient isolation
Following instructions should be followed if person comes in contact with electric shock;
To turn off power.
Unplug an appliance if plug is undamaged or shut off power via circuit breaker, fuse box, or outside switch.
If you can't turn off power:
Stand on something dry and non-conductive, such as dry newspapers, telephone book, or wooden board.
Try to separate the person from current using non-conductive object such as wooden or plastic broom handle, chair, or rubber doormat.
If high voltage lines are involved:
The local power company must shut them off.
Do not try to separate the person from current if you feel a tingling sensation in your legs and lower body. Hop on one foot to a safe place where you can wait for lines to be disconnected.

## Slide 15
THANK YOU